	

	College of Engineering and Computer Science

Mechanical Engineering Department
Mechanical Engineering 370

Thermodynamics

	
	Fall 2010  Number: 14319  Instructor: Larry Caretto


Solutions to Seventh Quiz – Introduction to the Second Law
A geothermal power plant cycle uses 10 kg/s of isopentane.  The cycle consists of a turbine, a condenser, a pump, and a heater.  The heat addition in the heater, which has no useful work, is 5 MW.  The pump, which has negligible heat transfer, has a power input of 15 kW.  The turbine has an inlet temperature and pressure of 120oC and 1 MPa, negligible heat transfer, an output pressure of 100 kPa, and an outlet entropy that is equal to the inlet entropy.  All heat rejection takes place in the condenser which has no useful work.
1. What is the power output of the turbine.
The turbine has one inlet and one outlet.  For a steady open system with negligible kinetic and potential energies the first law for negligible heat transfer becomes: 
[image: image1.wmf](

)

out

in

u

h

h

m

W

-

=

&

&

.

From the isopentane tables we have hin = h(120oC, 1 MPa) = 696.38 kJ/kg and sin = 2.1514 kJ/kg·K.  At the outlet with Pout = 100 kPa, sout = sin =  2.1514 kJ/kg·K lies between 60oC and 70oC.  Interpolation gives the outlet enthalpy and the turbine power as follows,


[image: image2.wmf]kg

kJ

K

kg

kJ

K

kg

kJ

K

kg

kJ

K

kg

kJ

kg

kJ

kg

kJ

kg

kJ

h

out

97

.

608

1428

.

2

1514

.

2

1428

.

2

1980

.

2

09

.

606

76

.

624

09

.

606

=

÷

÷

ø

ö

ç

ç

è

æ

×

-

×

×

-

×

-

+

=



[image: image3.wmf](

)

kJ

s

kW

kg

kJ

kg

kJ

s

kg

h

h

m

W

out

in

u

1

97

.

608

38

.

696

10

×

÷

÷

ø

ö

ç

ç

è

æ

-

=

-

=

&

&

= 874.1 kW
2. What is the cycle efficiency?
The cycle efficiency is given by the equation h = |W|/|QH|, where |W| is the net work output and |QH| is the heat input.  Here the net work is the turbine work output minus the pump work input.  Thus |W| = 874.1 kW – 15 kW = 859.1 kW.  The heat input is given as 5 MW = 5000 kW.  This gives the efficiency as follows:


[image: image4.wmf]kW

kW

Q

W

m

Q

m

W

Q

W

H

H

H

5000

1

.

859

=

=

=

=

&

&

&

&

&

&

h



 = 17.18%
3. What is the heat rejection in the condenser?
We can apply the general law for a cycle that |QH| = |QL|+ |W| to solve for the heat rejected, |QL| = |QH| - |W|.  As in problem 2, we can multiply this equation by the mass flow rate and apply the data from problem 2 to give.


[image: image5.wmf]kW

kW

W

Q

Q

W

m

Q

m

Q

m

H

L

L

H

1

.

859

5000

-

=

-

=

Þ

+

=

&

&

&

&

&

&


|QL| =  4141 kW
Jacaranda (Engineering) 3519
Mail Code
Phone: 818.677.6448

E-mail: lcaretto@csun.edu
8348
Fax: 818.677.7062


_1349530951.unknown

_1349600538.unknown

_1349600539.unknown

_1349530960.unknown

_1349530920.unknown

