	

	College of Engineering and Computer Science

Mechanical Engineering Department
Mechanical Engineering 370

Thermodynamics

	
	Spring 2010  Course number: 14529  Instructor: Larry Caretto


Solution to Quiz Eight – Calculations with Entropy
	
 EMBED Word.Picture.8  


	The ammonia refrigeration cycle shown at the left has the following properties for both parts (a) and (b) below: P1 = P4 = 100 kPa; P2 = P3 = 2 MPa; point 1 is a saturated vapor and Point 3 is a saturated liquid; for the throttling valve, h3 = h4; the compressor has no heat transfer, and, the low temperature heat input to the cycle, which is in the evaporator, is 1 MW.
Determine the power input to the compressor if (a) T2 = 250oC, (b) the compressor work input is a minimum.


We can apply the first law to both the evaporator and the condenser as steady-flow devices with one inlet and one outlet.  If we neglect kinetic and potential energies we have the following equation for the first law: 
[image: image1.wmf](

)

in

out

u

h

h

m

W

Q

-

+

=

&

&

&

.  We are given that there is no heat transfer in the compressor and we see that there is no useful work in the evaporator.  Writing the first law for each device gives the following pair of equations.

[image: image2.wmf](

)

(

)

2

1

4

1

h

h

m

W

h

h

m

Q

comp

evap

-

=

-

=

&

&

&

&


For a steady flow cycle, the mass flow rate must be the same in both devices.  Eliminating the mass flow rate between these two equations gives the following equation for the compressor power:

[image: image3.wmf](

)

4

1

2

1

2

1

4

1

h

h

h

h

Q

h

h

m

W

h

h

Q

m

evap

comp

evap

-

-

=

-

=

Þ

-

=

&

&

&

&

&


From the problem data we find h1 = hg(P1 = 100 kPa) = 1544.14 kJ/kg; h4 = h3 = hf(P3 = 2 MPa) = 563.87 kJ/kg.  These data will be the same for parts (a) and (b).  For part a, h2 = h2(P2 = 2 MPa, T2 = 250oC) = 2170.59 kJ/kg and the required compressor work is found from the combined first-law equation derived above.

[image: image4.wmf](

)

MW

kg

kJ

kg

kJ

kg

kJ

kg

kJ

MW

h

h

h

h

Q

W

evap

comp

6391

.

0

874

.

563

14

.

1544

59

.

2170

14

.

1544

1

4

1

2

1

-

=

-

-

=

-

-

=

&

&



[image: image5.wmf]MW

W

in

comp

6391

.

0

,

=

&


The minimum work input for this adiabatic compressor work input occurs when s2 = s1 = sg(100 kPa) = 6.15296 kJ/kg·K.  The value of h2 for the minimum compressor work input is found at the given value of P2 = 2 MPa and s2 = 6.15296 kJ/kg·K; this pair of values is seen to be in the superheat region so we can find h2 by interpolation at P2 = 2 MPa.

[image: image6.wmf]kg

kJ

K

kg

kJ

K

kg

kJ

K

kg

kJ

K

kg

kJ

kg

kJ

kg

kJ

kg

kJ

h

91

.

2032

38592

.

6

51296

.

6

38592

.

6

52661

.

6

41

.

1974

20

.

2039

41

.

1974

2

=

÷

÷

ø

ö

ç

ç

è

æ

×

-

×

×

-

×

-

+

=


We find the compressor work from the same formula used previously.

[image: image7.wmf](

)

MW

kg

kJ

kg

kJ

kg

kJ

kg

kJ

MW

h

h

h

h

Q

W

s

evap

in

comp

4986

.

0

874

.

563

14

.

1544

91

.

2032

14

.

1544

1

4

1

0

,

2

1

min

,

-

=

-

-

=

-

-

=

=

D

-

&

&



[image: image8.wmf]MW

W

in

comp

4986

.

0

min

,

=

-

&


Jacaranda (Engineering) 3519
Mail Code
Phone: 818.677.6448

E-mail: lcaretto@csun.edu
8348
Fax: 818.677.7062


_1350159403.unknown

_1350162055.unknown

_1350162999.unknown

_1350163022.unknown

_1350162924.unknown

_1350162034.unknown

_1350159145.unknown

_1350159231.unknown

_973345071.unknown

