	

	College of Engineering and Computer Science

Mechanical Engineering Department
Mechanical Engineering 370

Thermodynamics

	
	Fall 2010  Number: 14319  Instructor: Larry Caretto


Solution to Quiz Eleven – Cycle Analysis and Rankine Cycles
	
[image: image1.emf] 

1  

5  

8  

High Pressure   

Turbine (T1)  

Low Pressure   

Turbine (T2)  

Condenser  

Pump   

 (P1)  

Steam   

Generator  

Feedwater   

  Heater  

Pump   

(P2)  

2  

3  

4  

6  

7  


	A steam power plant operates on an ideal reheat-regenerative Rankine cycle shown on the left.  All the steam flows into the high-pressure turbine.  At the exit of this turbine, some of the steam is extracted and sent to the feedwater heater.  The rest of the steam is reheated and is expanded in the low pressure turbine.

Some of the data for this cycle are shown in the table below.  

(1) Complete the table using appropriate cycle idealizations

(2) Find the cycle efficiency.

	Point
	1
	2
	3
	4
	5
	6
	7
	8

	P (MPa)
	0.01
	0.8
	0.8
	10
	10
	0.8
	0.8
	0.01

	h (kJ/kg)
	191.78
	192.60
	720.68
	730.94
	3500.9
	2811.9
	3480.6
	2494.40

	s (kJ/kg∙K)
	0.6487
	0.6487
	2.0450
	2.0450
	6.7561
	6.7561
	7.8673
	7.8673


From the cycle idealization that there is no pressure in heat transfer devices and mixing devices, we see that P2 = P3 = P6 = P7 = 0.8 MPa, P4 = P5 = 10 MPa, and P8 = P1 = 0.01 kPa.  The pressures found from these idealizations are shown in the table in italics.  Additional values for entropy and enthalpy values to complete the table are found below.  These are also displayed in the table in italics.
Because the feedwater heater has a mixture of liquid and vapor, the cycle idealization for point three is that it is a saturated liquid.  This gives h3 = hf(0.8 MPa) = 720.68 kJ/kg, s3 = 2.0450 kJ/kg, and v3 = 0.001115 m3/kg.  The cycle idealizations, all work devices are isentropic gives the following results: s2 = s1 = 0.6487 kJ/kg, s4 = s3 = 2.0450 kJ/kg, s6 = s5 =6.7561 kJ/kg, and s8 = s7 = 7.8673 kJ/kg.  The only value remaining to be filled in the table is h4 which can be found from an analysis of the second pump.  For isentropic processes in a liquid we can compute the work as the integral of vdP, assuming that v is constant.  This gives


[image: image2.wmf](

)

(

)

kg

kJ

m

kPa

kJ

kPa

kPa

kg

m

P

P

v

w

P

26

.

10

1

800

10000

001115

.

0

3

3

3

4

3

2

=

×

-

=

-

=


We then find h4 = h3 + |wP2| = 720.68 kJ/kg + 10.26 kJ/kg = 730.94 kJ/kg.

In this cycle there are three distinct mass flow rates at different points in the cycle.  The entire flow, which occurs from the exit of the feedwater heater to the exit of the high-pressure turbine can be set to 1.  At this point, the flow that goes to the steam generator to be reheated can be set to f, and the remaining flow, that goes to the feedwater heater must be 1 – f to give a mass balance.  Using this unit flow and the variable f to represent the split, the flow rates at various points in the cycle have the values shown below.  (Here, 
[image: image3.wmf]a

m

6

&

represents the mass flow into the feedwater heater.)

[image: image4.wmf]1

5

4

3

=

=

=

m

m

m

&

&

&




[image: image5.wmf]f

m

m

m

m

=

=

=

=

2

1

8

7

&

&

&

&



[image: image6.wmf]f

m

a

-

=

1

6

&


The value of f can be found by applying the first law to the feedwater heater as shown below.  Here , with no heat or work, we have a simple balance: enthalpy rate in equals enthalpy rate out: (1 – f)h6 + fh2 = (1)h3.  Solving for f gives:


[image: image7.wmf]7984

.

0

9

.

2811

60

.

192

9

.

2811

68

.

720

6

2

6

3

=

-

-

=

-

-

=

kg

kJ

kg

kJ

kg

kJ

kg

kJ

h

h

h

h

f


We can compute the heat input rate for the steam generator, using the flow rates 1 and f for the initial steam generator flow and the reheat flow, respectively.


[image: image8.wmf](

)

(

)

6

7

4

5

)

(

)

1

(

h

h

f

h

h

Q

SG

-

+

-

=

&



[image: image9.wmf]kg

kJ

kg

kJ

kg

kJ

kg

kJ

kg

kJ

Q

SG

8

.

3303

9

.

2811

6

.

3480

)

7984

.

0

(

94

.

730

9

.

3500

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

&


The heat transfer in the condenser can also be found from the first law as follows.


[image: image10.wmf](

)

kg

kJ

kg

kJ

kg

kJ

h

h

f

Q

Cond

4

.

1838

4

.

2494

78

.

191

)

7984

.

0

(

8

1

-

=

÷

÷

ø

ö

ç

ç

è

æ

-

=

-

=

&


We can now find the efficiency as follows.


[image: image11.wmf]kg

kJ

kg

kJ

Q

Q

Q

Q

Q

Q

Q

Q

W

SG

Cond

H

L

H

L

H

H

8

.

3308

4

.

1838

1

1

1

-

-

=

-

=

-

=

-

=

=

&

&

&

&

&

&

&

&

&

h



 = 44.4%
An alternative approach to computing the efficiency uses the power output from the two turbine stages, which is given by the following equation that accounts for the differences in mass flow rate in the two stages.


[image: image12.wmf](

)

(

)

8

7

6

5

)

(

)

1

(

h

h

f

h

h

W

T

-

+

-

=

&



[image: image13.wmf]kg

kJ

kg

kJ

kg

kJ

kg

kJ

kg

kJ

W

T

4

.

1476

4

.

2494

6

.

3480

)

7984

.

0

(

9

.

2811

9

.

3500

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

÷

÷

ø

ö

ç

ç

è

æ

-

=

&


Finally, the total power input to the pumps is computed by accounting for the differences in mass flow rates.


[image: image14.wmf]1

2

)

(

)

1

(

)

(

)

1

(

2

1

2

h

h

f

w

w

f

w

W

P

P

P

P

-

+

=

+

=

&



[image: image15.wmf]kg

kJ

kg

kJ

kg

kJ

kg

kJ

W

P

91

.

10

60

.

192

78

.

191

)

7984

.

0

(

26

.

10

=

-

+

=

&


We now have the necessary information to compute the cycle efficiency using the work calculations.


[image: image16.wmf]kg

kJ

kg

kJ

kg

kJ

Q

W

W

SG

P

T

5

.

3223

91

.

10

4

.

1476

-

=

-

=

&

&

&

h



= 44.4%
The result is the same.  If we only want the efficiency, the calculation using the condenser is easier.  However, we usually want to know the work so the work terms are available for computing the efficiency.  It is usually a good idea to do the calculation both ways to make sure that the results are the same..
_1162551912.unknown

_1352582430.unknown

_1352582811.unknown

_1352583269.unknown

_1352583341.unknown

_1352583491.unknown

_1352582881.unknown

_1352582694.unknown

_1162551951.unknown

_1162604297.unknown

_1162604505.unknown

_1162604264.unknown

_1162551924.unknown

_1114005008.unknown

_1162551694.doc


1







5







8







High Pressure 







Turbine (T1)







Low Pressure 







Turbine (T2)







Condenser







Pump 







 (P1)







Steam 







Generator







Feedwater 







  Heater







Pump 







(P2)







2







3







4







6







7












_1113288200.unknown

