	

	College of Engineering and Computer Science

Mechanical Engineering Department
Mechanical Engineering 375
Heat Transfer

	
	Spring 2007   Number 17629   Instructor: Larry Caretto


February 7 Homework Solutions

[image: image20.png]s'c



1.55
The inner and outer surfaces of a 4-m by 7-m brick wall of thickness 30 cm and thermal conductivity 0.69 W/m K are maintained at temperatures of 20°C and 5°C, respectively.  Determine the rate of heat transfer through the wall, in W.  (Figure P1.55 from Çengel, Heat and Mass Transfer)
Here we use the basic equation for one-dimensional conduction heat flow.  We take the temperature difference as Tleft – Tright to get the heat flow in the direction shown in the figure.

[image: image1.wmf]L

T

T

kA

Q

right

left

)

(

-

=

&


From the given data we see that L = 0.3 m, Tleft – Tright = 210oC – 5oC = 15oC = 15 K, k = 0.69 W/m·K, and A = (7 m)(4 m) = 28 m2.  Substituting these values into the heat flow equation gives:.

[image: image2.wmf](

)

=

×

=

-

=

m

K

m

K

m

W

L

T

T

kA

Q

right

left

3

.

0

15

28

69

.

0

)

(

2

&

966 W
1.59E.
The north wall of an electrically heated home is 20 ft long, 10 ft high, and 1 ft thick, and is made of brick whose thermal conductivity is k = 0.42 Btu/h ft °F. On a certain winter night, the temperatures of the inner and the outer surfaces of the wall are measured to be at about 62°F and 25°F, respectively, for a period of 8 h. Determine (a) the rate of heat loss through the wall that night and (b) the cost of that heat loss to the home owner if the cost of electricity is $0.07/kWh.
Again we use the basic equation for one-dimensional conduction heat flow.  We take the temperature difference as Tleft – Tright to get the heat flow leaving the house.


[image: image3.wmf]L

T

T

kA

Q

outer

inner

)

(

-

=

&


From the given data we see that L =1 ft, Tleft – Tright = 62oF – 25oF = 37oF, k = 0.42 Btu/hr·ft·oF, and A = (20 ft)(10 ft) = 200 ft2.  Substituting these values into the heat flow equation gives:.


[image: image4.wmf](

)

=

×

×

=

-

=

ft

F

ft

F

ft

hr

Btu

L

T

T

kA

Q

o

o

right

left

1

37

200

42

.

0

)

(

2

&

3108 Btu/hr
The cost is found by multiplying the heat loss by the $0.07/kWh cost of providing the heat and the 8 hour t during which the heat loss occurs..

[image: image5.wmf](

)

(

)

=

=

D

=

Btu

kWh

hr

hr

Btu

kWh

t

Q

t

Unit

Cost

3412

8

3108

07

.

0

$

cos

&

$0.51
1.64
Consider a person standing in a room maintained at 20°C at all times.  The inner surfaces of the walls, floors, and ceiling of the house are observed to be at an average temperature of 12°C in winter and 23°C in summer.  Determine the rates of radiation heat transfer between this person and the surrounding surfaces in both summer and winter if the exposed surface area, emissivity, and the average outer surface temperature of the person are 1.6 m2, 0.95, and 32°C, respectively.

To compute this radiation heat transfer we assume that the person in the room is a small object in a large enclosure.  For this situation we can use equation 1.28 for the radiation heat transfer.


[image: image6.wmf](

)

4

4

surfaces

person

T

T

A

Q

-

s

e

=

&


We are given the following data: Tperson = 32oC = 305.15 K, Tsurfaces = 12oC = 285.15 K in the winter and 23oC = 296.15 K in the summer, A = 1.6 m2, and  = 0.95.  The Stefan-Boltzmann constant,  = 5.670x10-8 W/m2·K4.  Substituting these values into the radiation equation gives the following heat transfer values.


[image: image7.wmf](

)

(

)

(

)

(

)

[

]

4

4

4

2

8

2

4

4

15

.

296

15

.

305

10

670

.

5

6

.

1

95

.

0

K

K

K

m

W

x

m

T

T

A

Q

surfaces

person

summer

-

×

=

-

s

e

=

-

&



 EMBED Equation.3  [image: image8.wmf](

)

(

)

(

)

(

)

[

]

4

4

4

2

8

2

4

4

int

15

.

285

15

.

305

10

670

.

5

6

.

1

95

.

0

K

K

K

m

W

x

m

T

T

A

Q

surfaces

person

er

w

-

×

=

-

s

e

=

-

&



[image: image9.wmf]W

Q

summer

3

.

84

=

&




[image: image10.wmf]W

Q

er

w

3

.

177

int

=

&


Note that the room temperature value of 200C is irrelevant in this problem where we are only computing the radiation heat transfer.  In a real situation we would also compute the convective heat transfer from the person’s body to the room air at a temperature of 20oC.
1.66
For heat transfer purposes, a standing man can be modeled as a 30-cm-diameter, 170-cm-long vertical cylinder with both the top and bottom surfaces insulated and with the side surface at an average temperature of 34°C.  For a convection heat transfer coefficient of 20 W/m2 °C, determine the rate of heat loss from this man by convection in an environment at 18°C.

Here we use the basic equation for convective heat transfer.  We take the temperature difference as Tperson – T( to get the heat flow from the person to the environment.

[image: image11.wmf])

(

¥

-

=

T

T

hA

Q

person

&


From the given data we have h = 20 W/m2·oC, and Tperson – T( = 34oC – 18oC = 16oC.  Since we are given that the ends of the cylinder are insulated the area available for heat transfer is the ares of the side of the cylinder: A = DL = (0.3 m)(1.7 m) = 1.602 m2.  Substituting these values into the heat transfer equation gives the desired solution.

[image: image12.wmf](

)

(

)

=

×

=

-

=

¥

C

m

C

m

W

T

T

hA

Q

o

o

person

16

602

.

1

20

)

(

2

2

&

513 W
[image: image21.emf]1.78
A transistor with a height of 0.4 cm and a diameter of 0.6 cm is mounted on a circuit board.  The transistor is cooled by air flowing over it with an average heat transfer coefficient of 30 W/m2 °C.  If the air temperature is 55°C and the transistor case temperature is not to exceed 70°C, determine the amount of power this transistor can dissipate safely.  Disregard any heat transfer from the transistor base.  (Figure at right taken from Çengel, Heat and Mass Transfer.)
The basic idea here is that the power dissipated by the transistor is the heat transfer that has to be convected to the air at 55oC; so, we can use the basic equation for convective heat transfer.  We take the temperature difference as Ttransistor – T( to get the heat flow from the transistor to the environment.

[image: image13.wmf])

(

¥

-

=

T

T

hA

Q

transistor

&


From the given data we have h = 30 W/m2·oC, and Ttransistor – T( = 70oC – 55oC = 15oC.  Since we are given that the base of the transistor is negligible, area available for heat transfer is the area of the side of top of the transistor that we will assume is a cylinder: A = DL + D2/4 = (0.006 m)(0.004 m) + (0.006 m)2 = 0.0001037 m2.  Substituting these values into the heat transfer equation gives the desired solution.

[image: image14.wmf](

)

(

)

=

×

=

-

=

¥

C

m

C

m

W

T

T

hA

Q

o

o

transistor

15

0001037

.

0

30

)

(

2

2

&

0.0467 W
1.95
Consider a person standing in a room at 23°C  Determine the total rate of heat transfer from this person if the exposed surface area and the skin temperature of the person are 1.7 m2 and 32°C, respectively, and the convection heat transfer coefficient is 5 W/m2·°C. Take the emissivity of the skin and the clothes to be 0.9, and assume the temperature of the inner surfaces of the room to be the same as the air temperature.

This is a combination of the work we did in problems 1.64, where we considered only radiation, and 1.66, where we considered only convection.  Here we do the work of both problems and add the results to get the total heat transfer.

[image: image15.wmf](

)

4

4

)

(

surfaces

person

person

rad

conv

T

T

A

T

T

hA

Q

Q

Q

-

s

e

+

-

=

+

=

¥

&

&

&


From the given data we have A = 1.7 m2,  = 0.9, h = 5 W/m2·oC, and Tperson – T( = 32oC – 23oC = 9oC, so that Tperson = 305.15 K and Tsurfaces = T( = 296.15 K.  The Stefan-Boltzmann constant,  = 5.670x10-8 W/m2·K4.    Substituting these values into the heat transfer equation gives the desired solution.


[image: image16.wmf](

)

[

]

(

)

(

)

(

)

(

)

[

]

ú

ú

û

ù

ê

ê

ë

é

-

×

+

×

=

-

es

+

-

=

-

¥

4

4

4

2

8

2

2

4

4

15

.

296

15

.

305

10

670

.

5

9

.

0

9

5

7

.

1

)

(

K

K

K

m

W

x

C

C

m

W

m

T

T

T

T

h

A

Q

o

o

surfaces

person

person

&



[image: image17.wmf]Q

&

 = 161 W
1.101
A 1000-W iron is left on the iron board with its base exposed to the air at 20°C.  The convection heat transfer coefficient between the base surface and the surrounding air is 35 W/m2·°C.  If the base has an emissivity of 0.6 and a surface area of 0.02 m2, determine the temperature of the base of the iron.

This is another problem where we have both convection and radiation.  We compute each mode of heat transfer then add the two the get the total heat transfer.  Here we know the total heat transfer is 1000 W, the heat produced by the iron.  What we do not know is the surface temperature of the iron.  As usual we assume that the iron is a small item in a large enclosure to get the equation for radiation heat transfer.

[image: image18.wmf](

)

4

4

)

(

1000

surfaces

iron

iron

rad

conv

T

T

A

T

T

hA

Q

Q

W

Q

-

s

e

+

-

=

+

=

=

¥

&

&

&


From the given data we have A = 0.02 m2,  = 0.6, h = 35 W/m2·oC, and T( = 20oC.  We are not given the surfaces of the room for radiation, but we can assume that they are the same as the air temperature so that Tsurfaces = 20oC = 293.15 K.  The Stefan-Boltzmann constant,  = 5.670x10-8 W/m2·K4.  Substituting these values into the heat transfer equation gives the desired solution.  Note that we have to use Kelvin temperatures for the convection term in this combined convection-radiation problem with an unknown temperature.  If we did not do this we would have an inconsistent variable for the unknown temperature of the iron.

[image: image19.wmf](

)

[

]

(

)

(

)

(

)

[

]

ï

þ

ï

ý

ü

ï

î

ï

í

ì

-

×

+

-

×

=

-

es

+

-

=

=

-

¥

4

4

4

2

8

2

2

4

4

15

.

293

10

670

.

5

6

.

0

15

.

293

35

02

.

0

)

(

1000

K

T

K

m

W

x

K

T

C

m

W

m

T

T

T

T

h

A

W

Q

iron

iron

o

surfaces

iron

iron

&


We cannot solve this equation directly, but we can use a root finder in our calculator or in a software application like Excel, Matlab or EES.  Using the “Goal Seek” tool of Excel to solve this equation gives the result that Tiron = 947.04 K = 674oC.
Jacaranda (Engineering) 3333
Mail Code
Phone: 818.677.6448

E-mail: lcaretto@csun.edu
8348
Fax: 818.677.7062


_1231094783.unknown

_1231099481.unknown

_1231099862.unknown

_1231100411.unknown

_1231100917.unknown

_1231101669.unknown

_1231100507.unknown

_1231099923.unknown

_1231099494.unknown

_1231098064.unknown

_1231098231.unknown

_1231098688.unknown

_1231098219.unknown

_1231097375.unknown

_1231097688.unknown

_1231095217.unknown

_1231093631.unknown

_1231094024.unknown

_1231093368.unknown

